## Slide 1: Course: EEE 312 DIGITAL SIGNAL PROCESSING LABORATORY Project Name: BRAIN TUMOR DETECTION USING IMAGE PROCESSING METHOD Project Group : 01 Student IDs : 1806167-168-194-195

## Slide 2: INTRODUCTION

## Slide 3
Brain tumor is the abnormal growth of brain tissues which can be benign ( non-cancerous ) or, malignant( cancerous ). In the latter case, it proves fatal 60% of the time if not detected at an early stage. Thus, brain tumor detection by image processing method provides us an in-depth view of the tumor and its projected growth.

## Slide 4: Sir Rickman John Godlee (15 February 1849 – 18 April 1925)
The first doctor to surgically remove a brain tumor in 1884, thus pioneering modern brain surgery.

## Slide 5: OBJECTIVES

## Slide 6
Brain Tumor Detection
Testing Accuracy of Algorithm

## Slide 7: WORKFLOW

## Slide 8
IMAGE ENHANCE-
MENT
IMAGE
INPUT
IMAGE
PRE-
PROCESSING
SKULL STRIPPING
IMAGE
SEGMENTA-
TION
OTSU,
WATERSHED,
FUZZY-C CLUSTERING
COMBINED
RESULT
MORPHOLOGI-CAL OPERATION
FEATURE EXTRACTION
PREDICTION
TUMOR or,
NON TUMOR
DETECT
ACCURACY
CHECK

## Slide 9: METHODOLOGY

## Slide 10: STEP 01 IMAGE PRE-PROCESSING

## Slide 11: First, We Take A Sample MRI Image of The Brain

## Slide 12: STEP 02 IMAGE ENHANCEMENT

## Slide 13
RGB TO GRAY
SMOOTHING
REMOVING WHITE
BLOBS
ENHANCEMENT
ADAPTIVE HISTOGRAM
EQUALIZATION

## Slide 14: STEP 03 SKULL STRIPPING

## Slide 15
FINAL
RESULTS

## Slide 16: STEP 04 IMAGE SEGMENTATION

## Slide 17: 3 METHODS COMBINED
OTSU
Optimizes the separation of foreground and background by minimizing the intra-class variance of pixel values.
WATER-SHED
Is based on the similarities of neighbouring pixels in regions.
FUZZY C-MEAN CLUSTERING
Assigns a probability value of pixels being in the two clusters and takes the cluster which has the highest possibility.

## Slide 18
RESULTS

## Slide 19
COMBINED RESULT

## Slide 20: STEP 05 MORPHOLOGICAL OPERATION

## Slide 21
RESULT

## Slide 22: STEP 06 FEATURE EXTRACTION

## Slide 23
4 Features :
Contrast, Correlation, Entropy and Standard Deviation
GRAY LEVEL CO_OCCURRENCE MATRIX for feature extraction
A GLCM gives tabulated information about the positions of pixels with similar gray level values in an image

## Slide 24: STEP 07 PREDICTION

## Slide 25: TRAINING = 600 TESTING = 200 WITH TUMOR = 355 WITHOUT TUMOR = 445 ML TREE MODEL USES INBUILT fitctree()
DATASET
SOURCE: KAGGLE

## Slide 26: STEP 08 DETECTION

## Slide 27
FINAL OUTPUT SHOWS SAMPLE MRI IMAGE HAS TUMOR

## Slide 28: ACCURACY CHECK

## Slide 29
ACCURACY
PRECISION
RECALL
SPECIFICITY
F1 MEASURE

## Slide 30: LIMITATIONS

## Slide 31
THRESHOLD
ASSUMP-TIONS
ONLY FOR 2D IMAGES
CAN’T DETECT TYPES OF TUMOR

## Slide 32: TEAM
MOYTRI GHOSAL 1806167
EEE DEPT
BANGLADESH UNIVERISTY OF ENGINEERING AND TECHNOLOGY
SANDIPA CHOWDHURY 1806168
EEE DEPT
BANGLADESH UNIVERISTY OF ENGINEERING AND TECHNOLOGY
SHIHAB WAHED 1806194
EEE DEPT
BANGLADESH UNIVERISTY OF ENGINEERING AND TECHNOLOGY
AYE THEIN MAUNG 1806195
EEE DEPT
BANGLADESH UNIVERISTY OF ENGINEERING AND TECHNOLOGY

## Slide 33: THANK YOU !

## Slide 34
ANY QUESTIONS?